LHe Level Record:

Trial 1: ran for 37 hrs, went to zero, level values towards the end didn’t , match up???

Trial 2: changed setpoint to 90 and minimum open to 0 at 5:04 PM

Test: ran for about 10 hrs, 30 mins, Logfile stopped making entries at level 89, valve position .145, just before the 38000th iteration. Levelnew kept reading that end valve position until it went to zero.

Test: 12:45 to 8:18, same issue as before^^^^ we set level to 90, went to 100.

Test: only ran for 20 mins, went to 100, probably would have overfilled in real-life scenario

Test: ran for almost 14 hrs, Levelnew went to 0, Paul’s stopped at 84, measuring slip???

Test: ran from 12:07 pm to about 5:47 am, went to 100, valve was closed, pid loop stopped responding? Paul’s vi was still running on vp = 0 and level = 100 (in real life, evap would have continued but since LHe level stopped this was not taken into account. Paul’s vi continued to read 100 for several hours until I stopped his vi

Test: at least early on, there doesn’t appear to be any slipping of the motor. ran for 26 hrs, text files agree, no slipping through to end of trial

Test: 9:44pm to 3:56am, went to 100, levels agree

Test: ran for about 36 hrs, eof in pauls vi, Pauls didn’t read after level = 92, mine went to 100, valve didn’t close and would have remained open in real life situation

Test: ran for about 30 hrs, valve closed, went to 100, no eof

Test: ran from 11:25am on May 1 to 12:45am May 3. Went to zero, which is kinda weird. Strangely didn’t read it while it was decreasing, only read 70, 69, 5, 0 successively. This occurred at 12:38am on May 3, read zero for awhile. ** update, this was because it was started again. So, normal test, pauls vi stopped reading at vp = 0 and mine went to level =0, nvm. MAY1

Test: MAY4. changed standard deviation to .5, starting level to 10. Ran from 9:48pm May 4 to 6:47am on May 6. Went to zero starting at 6:44. Eof.

Test: forgot to change one of the names so the test didn’t work (

Test: